| Bill of Materials |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Application |  | Pressure Boosting |  |  |  |
| Panel Type / Mounting |  | Indoor / Skid Mounting |  |  |  |
| Panel Model |  | Three Phase - SD |  |  |  |
| Power Rating |  | PLC + HMI + Single VFD – Variable Speed & Star Delta |  |  |  |
| No of Pumps |  | 1.1kW / 1.5HP |  |  |  |
| 309288 – PBOX CRI I-SER 1.1KW 2W+1S J |  |  |  |  |  |
| S.No | Item Description |  | Brand | Quantity | Units |
|  | ENCLOSURE 600W X 800H X 250D |  | FABRICATED | 1 | No. |
|  | ISOLATOR 16A |  | SALZER / GT | 1 | No. |
|  | MCB 3P-10A |  | EATON / CHINT | 4 | No. |
|  | MCB 2P-06A |  | EATON / CHINT | 1 | No. |
|  | CONTACTOR 9A 220V |  | EATON / CHINT | 6 | No. |
|  | MECHANICAL INTERLOCK |  | EATON / CHINT | 3 | No. |
|  | PRESSURE TRANSMITTER WITH 3C CABLE (0-16BAR) |  | DANFOSS | 1 | No. |
|  | 2P SELECTOR SWITCH |  | REPUTED | 3 | No. |
|  | MFM METER WITH RS485 |  | MULTISPAN | 1 | No. |
|  | CT COIL |  | ELMEX | 3 | No. |
|  | CONTROL TRANSFORMER 200VA |  | KOOK | 1 | No. |
|  | SMPS 2.5A |  | GIC / SELEC | 1 | No. |
|  | VFD-1.1kW |  | FUJI | 1 | No. |
|  | PLC WITH HMI |  | INVT | 1 | No. |
|  | SPP |  | GIC / SELEC | 1 | No. |
|  | BUZZER WITH AMBER LAMP |  | REPUTED | 1 | No. |
|  | EMERGENCY STOP BUTTON |  | SCHNEIDER | 1 | No. |
|  | 8CHANNEL RELAY BOARD 1C/O,24VDC |  | OMRON | 1 | No. |
|  | EXHAUST FAN 4” |  | HICOOL | 1 | No. |
|  | LOUVER 4” |  | ELECTRO / POWERMAT | 2 | No. |
|  | POWER & CONTROL WIRES |  | LAPP / POLYCAP | REQ | No. |
|  | OTHER INTERNAL WIRING ACCESSORIES |  | REPUTED | REQ | No. |